## Slide 1: Storage of culture media
Fsc MLT
Presented by:USWA FAZAL

## Slide 2: Temperature Control
Store at Appropriate Temperatures:
Maintain temperatures between 2°C and 8°C (35.6°F to 46.4°F).
Prevent degradation and ensure media remains sterile.

## Slide 3: Protection from Light
Shield from Light Exposure:
Use light-sensitive media; protect from direct light which can degrade components.
Wrapping containers in aluminum foil can minimize light exposure.

## Slide 4: Segregation
Store Separately:
Keep different types of culture media apart to prevent cross-contamination. Use designated storage areas based on media types.

## Slide 5: Moisture Control
Seal Containers Properly:
Ensure containers are tightly sealed to prevent moisture loss.
Regularly check seals to maintain sterility and prevent evaporation.

## Slide 6: Rotation and Inventory Management
Implement Inventory System:
Regularly check stored materials for expiration and viability.
Label containers with expiration dates and batch numbers to facilitate tracking.

## Slide 7: Quality Control
Regularly Check Stored Media:
Discard any media showing signs of contamination.
Quality control is essential for reliable results in experiments.

## Slide 8: Documentation
Maintain Clear Records:
Document details about preparation, expiration dates, and usage history. Ensures traceability and aids in quality control for media storage.

## Slide 9
Thank You :)