## Slide 1: Radiography Imaging & Technology
Fsc RIT
Awais Hamza

## Slide 2: Triode Valve – Structure
Components: Cathode (heated), Control Grid, Anode (plate)
Cathode: Emits electrons when heated
Control Grid: Mesh/screen regulating electron flow
Anode: Collects accelerated electrons
Vacuum Tube: Air-free interior enables free electron movement

## Slide 3: Triode Valve – Operation
Heating → Thermionic emission from cathode
Negative grid voltage controls intensity of electron stream
Higher anode voltage attracts electrons → current flows
Acts as an amplifier, oscillator, or switch

## Slide 4: Triode Valve – Applications
Signal amplification
Early X-ray high-voltage control
Oscillator circuits
Modulation/demodulation

## Slide 5: Triode Valve – Advantages & Disadvantages
Advantages
High power handling
Smooth amplification characteristics
Disadvantages
Large, fragile, heats up
Shorter life than modern electronics
Replaced largely by semiconductors

## Slide 6: Semiconductor – Structure
Materials: Silicon, germanium
Intrinsic semiconductor: Pure Si/Ge
Extrinsic semiconductor: Doped with impurity atoms
n-type: Phosphorus/arsenic → extra electrons
p-type: Boron → electron holes

## Slide 7: Semiconductor – Operation
p–n junction allows unidirectional current
Forward bias → conduction
Reverse bias → high resistance
Basis of modern rectifiers, diodes, transistors

## Slide 8: Semiconductor – Applications
X‑ray machine rectifiers
Power supplies
Digital circuits
Switching circuits
Medical imaging electronics

## Slide 9: Semiconductor – Advantages & Disadvantages
Advantages
Compact, durable
Low heat production
High efficiency
Disadvantages
Sensitive to temperature
Damage from high reverse voltage

## Slide 10: Cathode Ray Oscilloscope (CRO) – Parts
CRT Tube: Electron gun, deflection plates, fluorescent screen
Vertical Amplifier
Horizontal Time‑Base Generator
Power Supply
Trigger System
Control knobs (focus, intensity, sync)

## Slide 11: CRO – Operation
Electron gun generates beam
Vertical plates deflect beam according to input signal
Horizontal plates create time-based sweep
Beam strikes screen → waveform visible

## Slide 12: CRO – Features
Waveform display
Measurement of voltage, frequency, time period
Dual‑trace options
Trigger control for stable waveforms

## Slide 13: CRO – Advantages & Disadvantages
Advantages
Real‑time visualization
High accuracy
Wide frequency response
Disadvantages
Bulky
Requires calibration
Cannot store long‑term data (traditional CRO)

## Slide 14: CRO – Types
Analog CRO
Digital Storage Oscilloscope (DSO)
Dual/Multiple beam CRO
Sampling CRO

## Slide 15: High-Voltage Rectifier Circuits – Types
Vacuum tube rectifier
Semiconductor diode rectifier
Half‑wave rectifier
Full‑wave rectifier (center‑tap, bridge type)

## Slide 16: High-Voltage Rectifier – Operation
Converts AC to DC
Allows current flow in one direction
Used in X‑ray machines for stable DC across tube

## Slide 17: High-Voltage Rectifier – Applications
X‑ray tube power supply
High‑voltage generators
Stable DC for imaging systems

## Slide 18: High-Voltage Rectifier – Considerations
Voltage rating
Heat dissipation
Ripple control
Safety insulation

## Slide 19: Self‑Rectifying Circuits – Details
X‑ray tube itself acts as rectifier
Only anode-positive half‑cycle produces X‑rays
No external diode required

## Slide 20: Self‑Rectifying Circuits – Operation
Positive half‑cycle → electrons flow → X‑rays produced
Negative half‑cycle → anode negative → no production
Results in half‑wave output

## Slide 21: Self‑Rectifying Circuits – Advantages
Simple
Low cost
Fewer components

## Slide 22: Self‑Rectifying Circuits – Applications
Portable X‑ray units
Dental X‑ray generators
Low mA systems

## Slide 23: Self‑Rectifying Circuits – Limitations
Low efficiency
High ripple
Only half‑wave output
Heat stress on anode

## Slide 24: Half-Wave Pulsating Voltage Circuit
Uses 1 diode or self‑rectifying tube
Current flows only during positive cycle
High ripple
Low efficiency

## Slide 25: Full-Wave Pulsating Voltage Circuit
Uses 2 diodes (center‑tap) or 4 diodes (bridge)
Utilizes both AC half cycles
Lower ripple
Higher efficiency

## Slide 26: Constant Potential Circuits – Purpose
Maintain nearly constant kVp during exposure
Reduce ripple → stable X-ray output
Improve image consistency
Increase tube efficiency

## Slide 27: Constant Potential Circuits – Types and Operation
High-frequency generators
Three-phase 12-pulse systems
Constant potential (CP) generators
Operation
AC → rectified → filtered → high-frequency conversion
Produces nearly constant DC voltage
Minimal fluctuation during exposure

## Slide 28: Linear Voltage Regulators – Purpose
Stabilize voltage for sensitive electronic circuits
Provide clean, noise-free DC output

## Slide 29: Linear Voltage Regulators – Types
Series regulator
Shunt regulator
Low-dropout (LDO) regulator

## Slide 30: Operation and Purpose
Acts like adjustable resistor
Maintains constant output despite input/load change
Provides low noise output
Purpose
Provides precise, stable reference voltage for measurements
Critical for calibration, ADCs, DMMs

## Slide 31: Voltage Reference – Types
Bandgap reference
Zener-based reference
Precision IC references

## Slide 32: Zener Diode – Structure & Purpose
Special diode designed to operate in breakdown region
Provides stable reference voltage
Used in regulators and protection circuits
Operation
Reverse-biased
At breakdown voltage → maintains constant voltage across load

## Slide 33: Precision Voltage Reference – Key Characteristics
Stability: Minimal drift over time
Accuracy: Precise nominal value
Regulation: Maintains voltage under load changes
Efficiency: Low power loss
Noise Performance: Low ripple/EMI sensitivity

## Slide 34: Voltage Measurement Devices
Multimeter (Analog)
Digital Multimeter (DMM)
High-voltage probe
Oscilloscope
Voltage divider networks

## Slide 35: Analog vs Digital Multimeter
Analog:
Needle movement
Good for trends
Lower accuracy
DMM:
LCD display
High precision
Auto-ranging features

## Slide 36: High-Voltage Probe – Purpose & Operation
Safely measure high voltages
Uses large resistance divider
Output scaled down for meter or oscilloscope

## Slide 37: Voltage Divider – Operation
Series resistors split voltage proportionally
Used in measurement and calibration

## Slide 38: Precautions & Safety for High-Voltage Measurement
Maintain safe distance
Use insulated tools
Verify grounding
Use PPE: insulated gloves, safety goggles, dielectric footwear
Ensure equipment rated for voltage

## Slide 39: Isolation & Insulation
Isolation prevents current through measuring device
Insulation prevents accidental contact
Critical for high-voltage circuits

## Slide 40: High-Voltage Measurement Steps
Power off → connect device
Use HV probe or divider
Stand on insulated surface
Keep one hand rule
Energize system
Take reading
Discharge before disconnecting

## Slide 41: Applications of High-Voltage Measurement
Power systems: Transformers, substations
Industrial equipment: Motors, X-ray machines
Research labs: Plasma, particle acceleration
Calibration: Equipment accuracy checks
Certification & Documentation: Compliance with standards

## Slide 42: High-Voltage Measurement Steps
Power off → connect device
Use HV probe or divider
Stand on insulated surface
Keep one hand rule
Energize system
Take reading
Discharge before disconnecting

## Slide 43: X‑Ray Exposure Controls – Overview
Parameters controlling quantity & quality of X-rays
Include: kV, mA, exposure time, filtration, collimation, SID/OID, positioning, grids, AEC
Aim: Optimal image quality with minimal patient dose

## Slide 44: X‑Ray Tube Voltage (kV) – Definition
Peak kilovoltage applied across the X‑ray tube
Determines energy and penetrating power of photons
Controls beam quality (hard vs soft X-rays)

## Slide 45: Effects
↑ kV → ↑ penetration, ↓ contrast, ↑ patient dose (moderately)
↓ kV → ↑ contrast, ↓ penetration
Affects image contrast and beam attenuation

## Slide 46: Applications
High kV: Chest, abdomen
Low kV: Extremities
Adjusted according to body part thickness