## Slide 1: Equipment Used in O.T
FSC OT
ADNAN RAMZAN

## Slide 2: Electro-Medical Equipment Used in O.T.
Anesthesia Machine / Monitor
Surgical Microscope
Operating Lights
Blood Warmer
Video Monitors & Cameras

## Slide 3
Desk / Computer
ECG Machine
Laser
Defibrillator
Pulse Oximeter

## Slide 5: Operation Table
Used for both general & complex surgical procedures.
Keeps the patient stable during surgery.
Different tables for different specialties (e.g., orthopedic tables).
Adjustable height, tilt, and patient positioning.

## Slide 7: Operation Theatre Light
Essential for clear visibility during surgery.
LED and halogen lights commonly used.
Should provide shadowless illumination.
Helps surgeons visualize small structures clearly.
Types: Ceiling-mounted, Wall-mounted, Floor stand.

## Slide 9: Anesthesia Machine
Delivers controlled anesthesia gases during surgery.
Maintains life-sustaining functions.
Also called anesthesia workstation.
Types: Air anesthesia machine, DC anesthesia machine, Closed anesthesia machine.

## Slide 11: Suction Machine
Removes secretions from mouth, throat, or lungs.
Helps when the patient can't clear secretions themselves.
Used during surgeries to remove blood, , or fluids.

## Slide 12: Sterilizer Machine
Used to sterilize surgical instruments using steam.
Essential to prevent infections.
Handles dressings, instruments, and other reusable items.

## Slide 14: Defibrillators
Delivers an electric shock to restore heart rhythm.
Used in cardiac arrest emergencies.
Helps return heart to normal rhythm.
Often required multiple times during recovery.

## Slide 16: Oxygen Concentrators
Provide 90–95% pure oxygen.
Work by filtering and concentrating oxygen from room air.
Used for patients with breathing difficulty.
Safer and more convenient than oxygen cylinders.