## Slide 1: Anesthesia Machine
FSC ( OTT)
ADNAN RAMZAN

## Slide 3: Anesthesia Machine
An anesthesia machine is used in operation theaters
It helps doctors give anesthesia to patients
The machine keeps the patient unconscious during surgery
It supplies oxygen and anesthetic gases
Proper anesthesia is important for safe surgery
The machine controls pressure and gas flow
It is handled by an anesthetist

## Slide 4: Boyle’s Anesthesia Machine
Boyle’s machine is the most commonly used anesthesia machine
It was developed in the early 20th century
It works on a continuous flow system
It delivers oxygen mixed with anesthetic vapors
Gases are given at controlled pressure and flow
It provides a constant gas supply to the patient
Mechanical ventilation can be used if needed
It is widely used in hospitals

## Slide 5: Problems with Early Anesthesia Machines
Early machines caused high wastage of gases
Anesthetic agents were not used efficiently
Machines were completely mechanical
Control over gas delivery was poor
Monitoring systems were not available
Accuracy of treatment was low

## Slide 6: Connection and System Issues
Early machines had many connections
Disconnection was very common
Wrong connections could occur easily
Tubes could bend or kink
Gas leakage was a serious problem
Flow meters were not accurate
Gas delivery was unreliable

## Slide 7: Lack of Safety Features
There were no alarm systems
Anesthetists had to monitor everything manually
Mechanical ventilation increased workload
Critical patients were difficult to manage
Gas delivery was not accurate
System efficiency was very low
Patient safety was compromised

## Slide 8: Need for Improvement
Many patient lives were at risk
Accurate control of anesthesia was necessary
Proper oxygen supply was very important
Lung ventilation had to be maintained
Oxygen-enriched gas was required
Old machines were not reliable
Continuous flow was not always accurate

## Slide 9: Development of Modern Anesthesia Machines
Modern machines focus on patient safety
Efficiency of anesthesia delivery has improved
New components were added to machines
Gas mixture accuracy is much better
Advanced monitoring systems are included
Fail-safe systems are now available
Hypoxic guard systems were introduced
Overall performance has improved

## Slide 10: Hypoxic Guard and Fail-Safe System
Hypoxic guard prevents low oxygen delivery
It ensures oxygen concentration stays above 21%
This prevents hypoxic gas mixture
Fail-safe system protects the patient
Gas flow is controlled automatically
Anesthesia delivery becomes safer
Risk of complications is reduced

## Slide 11: Safety Systems in Anesthesia Machines
Pin Index Safety System is used
Gas cylinders are color coded
Gas-specific connectors are used
Wrong gas connection is prevented
Scavenging systems remove waste gases
Operating room pollution is reduced
Medical staff and patients remain safe

## Slide 12: Conclusion
Anesthesia machines are essential in surgery
Early machines had many limitations
Patient safety was a major concern
Modern machines are more reliable
Safety features have greatly improved
Gas delivery is accurate and controlled
Monitoring systems help anesthetists
Overall patient care has improved